SUBJECT: SPECIFICATION FOR THE APPOINTMENT OF THE SERVICE PROVIDER FOR THE SUPPLY, INSTALLATION, AND MAINTENANCE OF ELECTRICAL FENCING FOR THE NHBRC HEAD-OFFICE (SUNNINGHILL)

N.B: BRIEFING IS COMPULSORY FOR THIS PROJECT

- BACKGROUND

- The National Home Builders Registration Council (NHBRC) is responsible for regulating the home building industry in South Africa, ensuring compliance with quality standards and protecting housing consumers. To uphold its mandate and safeguard its personnel, assets, and information, the NHBRC requires robust security control systems

- Security control systems are essential for securing NHBRC facilities against unauthorized entry, theft, and other security breaches. These systems include physical barriers like electrical fencing, booms and tyre spikes, surveillance cameras, employee access card mechanisms, and guard houses. Implementing such measures aligns with best practices, which recommend a comprehensive approach to security control and perimeter security

- The National Home Builders Registration Council (NHBRC) invites suitably qualified service providers to submit quotations for the supply, installation, and maintenance of a comprehensive electrical fencing system at its premises to enhance physical security and perimeter protection.

- SCOPE OF WORK

- NHBRC requires the removal of the existing wire fence and gates, and to supply, deliver and install a new perimeter fence with an electrified fence above it, including gates for the National Home builders Council Registration. The new security fence to be supplied must conform to the specification as detailed below and the supply contractor must carry out the scope of work which is summarised below:

- Conduct a Full Inspection of the Existing Electrical Fence System and provide assessment report

- Remove the old existing security electric fence of 600m, at the same time as the installation of the new fence, so that when each section of the old fence is removed, the new section needs to be on place the same day.

- Install new perimeter fence of approximately 600 meters. The supply contractor must measure the fence to obtain the exact length:

| Number of strands | Metre Long |
| --- | --- |
| 30 strands on steel palisade fence | 250 meters length |
| 22 strands on steel palisade fence | 30 meters length |
| 18 strands on steel palisade fence | 70 meters length |
| 6 strands on top of steel palisade fence | 210 meters length |

- Replace all strands of electrical wires across the full zones.

- Replace broken electric fence tensioners approximately 100

- Replace wires along the entire Zone 1.

- Supply and Installation of Electrical Fencing Zone 2:

- Replace all strands of electrical wires across the full zone.

- Replace electric wires along the entire Zone 2.

- Gate Contacts: All gates must be fitted with 2-way in-line gate contacts

- Electrical fence wire: Solid Aluminium alloy 1.6mm.

- Ensure integration with the existing security systems, i.e. alarm system.

- Two zone with keypad (to Install in the guard house).

- Electrical Fence lightning protection system: Two zone Lightning protection – Dual    Poles - one for every zone as per SANS 10222.

- Electrical fence Certificate of Compliance (COC) must be provided after installation.

- Electrical fence must be installed on the existing gates and fence sections around the main gate entrance.

- Replace two moto-gates to D12 moto-gates

- Conduct testing and commissioning of the entire fence system.

- Provide 24-month maintenance and support services post-installation.

- Train relevant security personnel on basic troubleshooting and safety protocols.

- Electrical fence installation (2-year guarantee)

- Perimeter fence (2-year guarantee)

- The bidder must submit a copy of a valid public liability, product liability and professional indemnity insurance of at least R1 million or a letter of intent from the insurance company.

- All items that are found defective or not correct within one year of date of delivery, will be replaced, repaired and corrected by the bidder at their own costs to the satisfaction of the National Research Foundation.

- PROJECT MANAGEMENT

The bidder must provide a detailed project plan that must include at least the timespan of the project in days and includes material delivery, in the bid response that must at least specify the following:

- Time from order of materials to delivery.

- Process required to prepare for the new perimeter fence installation, and removal of the   old fence to ensure that at no time the NHBRC security is compromised.

- Time required to install the new fence.

- Time required to remove the old fence.

- Time required to install the electrical fence.

- Expected time of completion.

- The project plan, which must also indicate human resources, activities, critical paths, and other interdependencies, must be presented in PDF format for ease of review.

- BIDDER’S MANDATORY DOCUMENTS

The bidder must provide a comprehensive proposal that complies with the Scope of Work and includes the following:

- Company Registration.

- Project plan and schedule.

- CIDB Category and a valid Grading of 2 SQ/GD or higher.

- Valid PSIRA company certificate

- Electrician trade certificate.

- Qualified Electrician.

- Copy of a valid COIDA (Compensation for Occupational Injuries and Diseases) registration certificate

- Bidder must submit CSD Report reflecting legal details, registration numbers, details of directors, and shareholding.

- List of projects indicating installation of perimeter fence, with address and

- contract value in the last 60 months.

- The bidder must submit a list of at FIVE contactable references whom they have installed

- fence or similar perimeter fence as required in this bid document. The references must indicate the address where the work was completed. The NHBRC will contact these companies directly to confirm the references.

- DELIVERABLES

Below are the expected deliverables from the service provider:

- Conduct a full inspection of the existing electrical fence system

- Supply and installation of electrical fencing zone 1

- Supply and installation of electrical fencing zone 2

- Ensure integration with the existing security systems i.e alarm systems etc.

- Conduct testing and commissioning of the entire fence system.

- Provide 24 months maintenance and support services post-installation.

- Train relevant security personnel on basic troubleshooting and safety protocols.

- EVALUATION OF THE SERVICE PROVIDER: TECHNICAL MANDATORY REQUIREMENTS

- Bidder(s) must possess specialist expertise and capacity (resources) in the areas of (a) electrical installations, (b) CIBD and PSIRA regulations. The service provider must indicate compliance with this requirement as follows- “Comply” with a X or "Not comply” with an X.

- Important to Note: The following specific requirements must be met by the bidders, and it will be expected of bidders to supply proof or confirm their commitment where applicable. Bidders must meet the following technical mandatory criteria.

N.B: Bidders who do not meet all the functional/technical mandatory criteria shall be disqualified

| Technical Mandatory Criteria | Comply | Not Comply |
| --- | --- | --- |
| ## Service Provider Experience and Knowledge - The service provider should have a minimum of 05 years’ experience in supply and installation of electrical fencing: |  |  |
| As proof, please provide a company profile indicating necessary experience and expertise |  |  |
| ## Reference Letters - The service provider should provide a minimum of 5 reference letters of similar projects conducted in the past 10 years. |  |  |
| As proof, please furnish signed copies of contactable client reference letters on client / company letterhead providing details of work performed in electrical fencing, within the last 10 years. NHBRC reserves the right to call the clients to obtain further information |  |  |
| Professional Accreditation - The service provider should posses a Valid wireman’s license / SAQCC certification in electrical fencing installation - CIBD 2 SQ/GB or higher and - PSIRA Company registration |  |  |
| As proof, please provide a valid membership certificate |  |  |

- EVALUATION OF THE  SERVICE PROVIDER: TECHNICAL EVALUATION REQUIREMENTS (100%)

- The functionality should be assessed in the following manner with 100% functionality criteria. Please note that qualifying criteria is 70%

| ## Service Provider Experience and Knowledge (40 Points) | Service Provider Name and Score |
| --- | --- |
| The service provider should have a minimum of 05 years’ experience in supply and installation of electrical fencing: |  |
| As proof, please provide a company profile indicating necessary experience and expertise |  |
| Scoring Criteria: |  |
| The Service Provider has at least 5 years’ experience = 40 Points |  |
| The Service Provider has at least 4 years’ experience = 30 Points |  |
| The Service Provider has at least 3 years’ experience = 20 Points |  |
| The Service Provider has at least 2 years’ experience = 10 Points |  |
| The Service Provider has at least 1 years’ experience = 0 Points |  |
| ## 7.1.2. Reference Letters (20 Points) | Service Provider Name and Score |
| The service provider should provide a minimum of 5 reference letters of similar projects conducted in the past 10 years. |  |
| As proof, please furnish signed copies of contactable client reference letters on client / company letterhead providing details of work performed in electrical fencing, within the last 10 years. NHBRC reserves the right to call the clients to obtain further information |  |
| Scoring Criteria: |  |
| The Service Provider has at least 5 reference letters = 10 Points |  |
| The Service Provider has at least 4 reference letters = 05 Points |  |
| The Service Provider has atleast 3 reference letters = 03 Points |  |
| The Service Provider has atleast 2 reference letters = 02 Points |  |
| The Service Provider has at least 1 reference letters = 0 Points |  |
| ## 7.1.3 Professional Accreditation (40 Points) | Service Provider Name and Score |
| The service provider should pose a Valid wireman’s license / SAQCC certification in electrical fencing installation = 20 |  |
| Company PSIRA registration =10 |  |
| CIBD grade 2 or Higher = 10 |  |
| As proof, please provide a valid membership certificates |  |
| Scoring Criteria: |  |
| The Service Provider has a valid memberships = 40 Points |  |
| The Service Provider does not have a valid membership = 0 Points |  |

- PRICE AND PREFERENCE POINTS EVALUATION (20%)

- The contract will be awarded in terms of Regulations 4 of the Preferential Procurement Regulations about the Preferential Procurement Policy Framework Act, 2000 (Act 5 of 2000) and Preferential Procurement Regulations, 2022 and bids will be adjudicated in terms of the (80/20) preference points system.

- Points will be awarded to service providers as per the 80/20 Preference point system (for the acquisition of services, works or goods with a Rand value not more than R 50 million) (all applicable taxes included)

- The points scored for price will be added to the points scored for preference points to obtain the Bidders total points scored out of 100 points.